Shift planning

Wafer pos. 1

Wafer pos. 2

Wafer pos. 3

Wafer pos. 4

Wafer pos. 5

Wafer pos. 6

No Wafer

No Wafer

No Wafer

1 – Shot at the middle of each wafer with 1, 2 and 3 GeV

(One Run of 190000 events seems to be enough at each value of energy)

1 GeV : (run 98) 131

2 GeV : Run 113

3 GeV : Run 114 + 115

1 GeV : (Run 97) 132

2 GeV : run 125

3 GeV : (Run 96) 133

1 GeV : run 122

2 GeV : run 123

3 GeV : (run 95) 134

1 GeV : run 127

2 GeV : run 126

3 GeV : Run 116 + 117

1 GeV : Run 128

2 GeV : Run 129

3 GeV : Run 118

1 GeV : run 121

2 GeV : run 120

3 GeV : Run 119

Wafer pos. 1

Wafer pos. 2

Wafer pos. 3

Wafer pos. 4

Wafer pos. 5

Wafer pos. 6

No Wafer

No Wafer

No Wafer

2 – Shot between wafer with 1 GeV

(4 or 6 Run of 190000 events at each position)

BECAREFULL some MODIFICATION IN NUMBER OF RUN

4 run @ 1 GeV : 162 -> 165

4 run @ 1 GeV : 147,148

149 v.v. small

150 (1.4Go)

151

,

6 run @ 1 GeV : 137->141

143->146

6 run @ 1 GeV : 153,154

158->161

3 Gev : Run 155 (350Mo)

Wafer pos. 1

Wafer pos. 2

Wafer pos. 3

Wafer pos. 4

Wafer pos. 5

Wafer pos. 6

No Wafer

No Wafer

No Wafer

3 – ECLA at 30°

Shot at the middle of each wafer with 1, 2 and 3 GeV

(One Run of 190000 events seems to be enough at each value of energy)

1 run @1 GeV : to do

1 run @ 2 GeV : to do

1 run @ 3 GeV : to do

1 run @1 GeV : 167

1 run @ 2 GeV : 168

1 run @ 3 GeV : 169

!! 3 run @1 GeV : 172,173,174

1 run @ 2 GeV : 171

1 run @ 3 GeV : 170

Attention: The changing from one angular position to another is not trivial, so we foresee to have both Marc Anduze and Jean Charles Vanel on site at least for the first change.

Wafer pos. 1

Wafer pos. 2

Wafer pos. 3

Wafer pos. 4

Wafer pos. 5

Wafer pos. 6

No Wafer

No Wafer

No Wafer

4 – ECLA at 20°

Shot at the middle of each wafer with 1, 2 and 3 GeV

(One Run of 190000 events seems to be enough at each value of energy)

1 run @1 GeV : to do

1 run @ 2 GeV : to do

1 run @ 3 GeV : to do

1 run @1 GeV : to do

1 run @ 2 GeV : to do

1 run @ 3 GeV : to do

3 run @1 GeV : to do

1 run @ 2 GeV : to do

1 run @ 3 GeV : to do

Attention: The changing from one angular position to another is not trivial, so we foresee to have both Marc Anduze and Jean Charles Vanel on site at least for the first change.

Wafer pos. 1

Wafer pos. 2

Wafer pos. 3

Wafer pos. 4

Wafer pos. 5

Wafer pos. 6

No Wafer

No Wafer

No Wafer

5 – ECLA at 10°

Shot at the middle of each wafer with 1, 2 and 3 GeV

(One Run of 190000 events seems to be enough at each value of energy)

1 run @1 GeV : to do

1 run @ 2 GeV : to do

1 run @ 3 GeV : to do

1 run @1 GeV : to do

1 run @ 2 GeV : to do

1 run @ 3 GeV : to do

3 run @1 GeV : to do

1 run @ 2 GeV : to do

1 run @ 3 GeV : to do

Attention: The changing from one angular position to another is not trivial, so we foresee to have both Marc Anduze and Jean Charles Vanel on site at least for the first change.